## Sheet1
JarID: 15599
Target: BC011709 (cell-free)
Spectrometer: Bartok
Temperature: 25C (304.7K)
Buffer: 20mM BisTris/200mM NaCl pH 6.5
Protein concentration: ~250 uM
Data Directory | Experiment number | Experiment | O1 (Hz) | 1H increment (usec) | 1H carrier frequency indirect dim. (ppm) | 1H sweep width (Hz) | 1H acquisition mode | O2P (ppm) | 13C increment (usec) | 13C sweep width (Hz) | 13C acquisition mode | O3P (ppm) | 15N increment (usec) | 15N sweep width (Hz) | 15N acquisition mode | NOESY mixing time (msec) | NS | Time (hours) | Proc. | Ref. | Comments
120806.bc011709 | 1 | 1D | 2825 | [13 empty] | 128
120806.bc011709 | 2 | 15N HSQC | 2825 |  |  |  |  | 176 |  |  |  | 117 | 250 | 2000 | Complex |  | 4 | 0.66
120806.bc011709 | 3 | 15N NOESY | 2825 | 60 | same as H2O | 8333.3333 | Complex | 70 |  |  |  | 117 | 250 | 2000 | Complex | 80 | 8 | 51.66
120806.bc011709 | 5 | 13C NOESY aliphatic | 2825 | 60 | same as H2O | 8333.3333 | Complex | 43 | 80 | 6250 | Complex |  |  |  |  | 80 | 8 | 56.5
121406.bc011709 | 1 | 3D HNCACB | 2825 |  |  |  |  | 43 | 40 | 12500 | States-TPPI | 117 | 125 | 2000 | States-TPPI |  | 8 | 24
121406.bc011709 | 5 | 13C NOESY aromatic | 2825 | 60 | same as H2O | 8333.3333 | Complex | 70 | 100 | 5000 | Complex |  |  |  |  | 80 | 4 | 25
121406.bc011709 | 7 | 3D HNCO | 2825 |  |  |  |  | 176 | 100 | 5000 | States-TPPI | 117 | 125 | 2000 | States-TPPI |  | 2 | 6
121406.bc011709 | 9 | 3D HNCOCA | 2825 |  |  |  |  | 54 | 80 | 6250 | States-TPPI | 117 | 125 | 2000 | States-TPPI |  | 2 | 6
121406.bc011709 | 11 | 3D HNCA | 2825 |  |  |  |  | 54 | 80 | 6250 | States-TPPI | 117 | 125 | 2000 | States-TPPI |  | 4 | 12.25
121406.bc011709 | 13 | 3D HNCACO | 2825 |  |  |  |  | 176 | 100 | 5000 | States-TPPI | 117 | 125 | 2000 | States-TPPI |  | 8 | 24.66
121406.bc011709 | 15 | 3D HBHACONH | 2825 |  | 3 | 5000 | Complex | 43 |  |  |  | 117 | 125 | 2000 | States-TPPI |  | 4 | 13.75 |  |  | used 3.062 for indirect proton
121406.bc011709 | 17 | Aromatic HSQC | 2825 |  |  |  |  | 127 | 100 | 5000 | Complex | [5 empty] | 4 | 0.33
121406.bc011709 | 18 | 13C CT-HSQC aliphatic | 2825 |  |  |  |  | 43 | 80 | 6250 | Echo-AntiEcho | [5 empty] | 8 | 0.75
121406.bc011709 | 19 | 13C CT-HSQC aromatic | 2825 |  |  |  |  | 127 | 100 | 5000 | Echo-AntiEcho | [5 empty] | 16 | 1.33
121906.bc011709 | 3 | 3D CCONH | 2825 |  |  |  |  | 43 | 40 | 12500 | Complex | 117 | 250 | 2000 | Echo-AntiEcho |  | 8 | 26.33
121906.bc011709 | 5 | 15N hetNOE | 2825 | [8 empty] | 117 | 250 | 2000 | Echo-AntiEcho |  | 24 | 20.66 |  |  | data split in direc. 11 and 12; bruker seq.
122106.bc011709 | 3 | HCCH-TOCSY | 1800.39 |  | 3 | 5000 | Complex | 43 | 80 | 6250 | Complex | [5 empty] | 8 | 28.5 |  |  | used 3.063 for proton dimensions
122106.bc011709 | 5 | 3D HCCONH | 2825 |  |  |  |  | 43 |  |  |  | 117 | 250 | 2000 | Echo-AntiEcho |  | 8 | 29
[17 empty] | Total Time= | 327.38
[17 empty] | Days= | 13.6408
Base Frequencies (MHz) | Brahms | Bartok
1H | 600.13 | 599.87 | [9 empty] | p1 | 15.8
13C | 150.9024 | 150.8371 | [9 empty] | 90@ | 18.8
15N | 60.8106 | 60.7843 | [9 empty] | sp1 | 35.5
[12 empty] | in0 | 250u
[12 empty] | o3p | 117